Apollo Algorithms to be migrated:

|  |  |  |  |
| --- | --- | --- | --- |
| Platform | Base Algorithm | Number of replications in Apollo | Existing or New |
| Alinity | IA Optics Dark Counts | 1 | Existing |
| Alinity | IA FE Pressure | 3 | Existing |
| Alinity | IA Vacuum Sensor | 1 | Existing |
| Alinity | IA Process Path Jams | 4 | Existing |
| Alinity | IA ITV | 4 | Existing |
| Alinity | IA Pipettor Syringe Backlash | 3 | Existing |
| Alinity | IA Washzone Aspiration | 6 | Existing |
| Alinity | IA Vacuum Leak | 1 | Existing |
| Alinity | IA Vacuum Pump | 1 | Existing |
| Alinity | CC Cuvette Wash | 1 | Existing |
| Alinity | CC Cuvette Integrity | 17 | Existing |
| Alinity | IA Washzone Heaters | 2 | New |
| Alinity | RSM Movement | 1 | New |
| Alinity | RSM Pick & Place | 1 | New |
| Alinity | CC HC Waste | 1 | New |
| Alinity | CC Waterbath Fill Time | 1 | New |
| Alinity | IA Dispersion Motor |  | New |
| Alinity | CC Pipettor PM Sensor | 3 | New |
| Alinity | Trigger Pretrigger Straws | 1 | New |
| Alinity | Daily & Weekly Maintenance | 4 | New |
| Architect | WAM Pattern B | 1 | Existing |
| Architect | WAM Pattern A | 1 | Existing |
| Architect | WAM Pattern C | 1 | Existing |
| Architect | I1 Pipettor FE Pressure > 2700 | 1 | Existing |
| Architect | Pipettor FE Pressure > 2700 | 4 | Existing |
| Architect | IA Dark Counts >250 | 1 | Existing |
| Architect | IA Dark Counts >SD100 | 1 | Existing |
| Architect | DM Fail IA | 1 | Existing |
| Architect | CC Cuvette LLS Board | 1 | Existing |
| Architect | CC Cuvette Status Check - Broken Cuvette | 1 | Existing |
| Architect | CC Cuvette Wash Subassembly | 1 | Existing |
| Architect | DM Fail CC | 1 | Existing |
| Architect | HC Waste Algorithm | 1 | Existing |
| APS | Base Algorithm | 332 | Existing |
| A3600 | Base Algorithm | 170 | Existing |